REDUCING THE COSTS OF DISH/STIRLING SYSTEMS IN INDIA

Manoj Kumar Singh ,Sanjeev Mishra, Prashant Pandey ,Durgesh Kumar Tripathi, Vishank shekhar singh

BABU SUNDER SINGH  INSTITUTE OF TECHNILOGY AND MANAGEMENT LUCKNOW

Abstract

Solar dish technology could become more competitive for small generation applications thanks to potential cost savings identified by the Indian research.The Rs 1.7 million scheme – part-funded by the Indian – holds out the prospect of costs no longer forming a barrier to the wider uptake of the technology.This research produced a fundamental rethinking of classic dish/Stirling systems, focusing on the optical dish design, the supporting structure, the Stirling engine and the control system.The dish/Stirling design developed by Indian offers high performance and easier manufacturing and installation procedures.Newly developed components proved to work smoothly compared to the former systems, while their performance almost reached the design power output. A peak power of 10 kW (electrical) was achieved during the 300-hour operation time, and a remote monitoring and control mechanism required for cost-effective servicing was developed, tested and installed. The cost of the system was put at near the target of Rs 5,000/kW

(electrical) for a production level of 500 units per year. System costs need to be lower than € 5,000/kW (electrical) at annual production levels of 100 to 500 units (i.e. 1 to 5 MW for initial installation in remote areas and on islands). Costs for existing dish/Stirling designs are an estimated Rs 11,000/kW for single prototype installations. The Indian analysis also highlighted potential areas for further cost reduction for several components, thus improving the chances of achieving a cost level that would permit competitive entry into the market.

Key words: Solar dish technology, Remote monitoring and control mechanism, The cost of the system