Novel solar-assisted

Fuel-driven power system

Manoj Kumar Singh ,Sanjeev Mishra, Prashant Pandey ,Durgesh Kumar Tripathi, Anjali Maurya

BABU SUNDER SINGH  INSTITUTE OF TECHNILOGY AND MANAGEMENT LUCKNOW

Abstract

Harnessing solar energy to produce synthesized gas – or syngas – that can be used by a gas turbine roduce electricity was the main aim of the this paper The process involves upgrading hydrocarbons by steam to pre-forming in solar receiver-reactors and the utilisation of the upgraded fuel in highly efficient conversion systems such as gas turbines or fuel cells. This process may be used on a small scale as a stand-alone system for off-grid markets and also in largerscale plants. The technology has potential for solar/fossil hybrid operations as well as for solar energy storage.In this paper the major challenge was to modify a previously developed receiver-reactor and to adjust the system so that it would work with steam and different hydrocarbon fuels.The Rs 2.5 million  saw an entire power generation system completed, commissioned and tested and the design of a new volumetric receiver-reactor. The major technical innovations were the modification of the gas turbine, including a dual-fuel operation mode.This paper identified two possible approaches for the mediumterm commercial application of the technology. The first option is the addition of a “solar upgraded fuel” system into existing large-scale gas turbine power plants. In this case no major modifications of the gas turbine would be necessary and the financial risk would therefore be reduced. The second option is to apply the technology of solar re-forming in a biogas plant from municipal or agricultural waste.Investigations were also made into the use of fuel cells instead of a gas turbine, along with an economic assessment of the technology.

Key words: Gas turbines, solar/fossil hybrid operations, Economic assessment of the technology