Restoring Natural River Flows,

Through

Optimal Ground Water Recharge & Improved Drainage

Thakur Das Daryana

Former  Executive Engineer U.P.  Jal Nigam. MIWWA, MIE (India)

City-Lucknow,  E-mail: daryanatd@rediffmail.com

Phone: +91 9415464865

Abstract: Prevention of pollution in rivers and water bodies involves proper treatment of the sewage, drainage and other liquid effluents joining the river streams, as well as maintaining the natural river flows which have been diminishing due to the excessive drawl of river stream waters for the purpose of drinking water schemes, irrigation and some industrial uses, where ground water could be used, if available. Sub-soil ground water levels have also been going down on account of the excessive population growth in the last about six to seven decades, resulting into more and more dependence on river waters. This situation needs to be changed by enhancing the rain water harvesting & ground water recharge volumes with innovative & special measures so as to return to minimum drawl of river waters for drinking & other uses.

The proposed measures could be summarized as follows. (i) Restoring Natural River Flows would involve (a) Reducing the surface water Drawal to a minimum. (b) Optimal Utilization of Ground Water for Drinking Water Supply, Irrigation & other uses. (c) Enhancing River Flows through improved surface drainage. (ii) Synchronized Water Supply & Precipitation Storage-cum-Recharge Systems in Water Scarcity areas. (a) Water Supply Schemes equipped with simultaneous rain water harvesting structures. (iii) Optimal Ground Water Recharge & Improved Drainage by innovative & special methods such as (a) Optimal Ground Water Recharge through Village Ponds, equipped with precipitation overflow diversion & recharge system. (b) Waste Water Drainage Treatment at discharge points before outfall into rivers.