Performance of P&O MPPT assisted Hybrid PV/battery System for Variable Load

Abhishek Awasthi1,   		Anurag Singh Yadav2, 		Imran Khan1

1Electrical Engineering Department, Azad Institute of Technology and Management, Lucknow,

Uttar Pradesh (India) – 226002

2Electrical & Electronics Engineering Department, School of Management Sciences, Lucknow,

Uttar Pradesh (India) – 226501

awasthi121@gmail.com, 	er.anuragsingh046@gmail.com, 	pe.imran@gmail.com

Abstract— Solar photovoltaic technology is a dependable source of energy to produce electricity for rural electrification in agriculture and household applications mainly. Photovoltaic system is employed to convert solar energy into electrical energy. The rural electrification is the most promising applications under photovoltaic technology especially in agriculture at remote areas. As the I-V characteristic of the PV module is non-linear and changes with the variation in solar irradiation and solar cell’s temperature. So design of photovoltaic system is done in MATLAB/Simulink for taking consideration of the above points. In this paper, a battery energy storage system (BESS) is used as a secondary source for power generation, which is used to power delivered to resistive load applications. The Perturb & Observe based MPPT technique is employed to achieve the maximum power point and a DC-DC boost converter is used to boost up the output voltage of photovoltaic system. The results are agreed with the satisfactory performance of the proposed system.

Keywords: solar photovoltaic system; battery energy storage system; P&O mppt; variable DC/AC load