Power control of stand-alone solar power generation system using incremental conductance based maximum power tracking

Ashutosh Asthana

Department of Humanities and Applied Science,

School of Management Sciences, Lucknow, U.P., India-226501

E-mail: asthanaashu2000@gmail.com

ABSTRACT

The day by day increasing demand for renewable energy sources are due to the growing energy demand in the world. Solar energy is a idle energy resource in a developing country. The major challenges for the admittance matching and gaining the solar power through PV systems are due to issues related to small competence and high cost price. Solar panels are basically semiconductors devices hence follows  nonlinear voltage-current functions, with a specific maximum power point (MPP) dependent on ecological conditions like temperature ,heating due to irradiation and solar cell array material. Therefore maximum power point (MPP) for the PV solar cell array changes with irradiation & temperature. In order to maintain the performance  uniformly and ripple free  with highest power rating  from the solar cell panels practices are  worked out at achieving MPP in spite of the compensating changes in the environment. For this purpose automated controllers using electronic converter circuits are added using different ways of maximum power point tracking (MPPT) algorithms. Hence many MPPT algorithms are available this paper examined them and investigated out a Maximum Power Point Tracking (MPPT) algorithm which helps to increase the efficiency of the stand-alone solar photovoltaic systems.

Keywords: Maximum Power Point Tracking (MPPT), Photovoltaic generation, MPPT Algorithm, Boost Converter.