Modelling & simulation of Stand-alone photo-voltaic system with perturb & observe MPPT

Vikas Raghuwanshi1		 Ashutosh Srivastava2		Santosh Kumar Singh3

1 Department of Electronics and Communication Engineering, MIT, Mandsaur

2&3Electrical & Electronics Engineering Department, School of Management Sciences, Lucknow,

Uttar Pradesh (India) – 226501

vikasraghuwanshi3@gmail.com, ashutoshsrivastava214@gmail.com, santosh25990@gmail.com

ABSTRACT

The recent upsurge in the demand of Photo-Voltaic systems is due to the fact that they produce electric power without hampering the environment by directly converting the solar radiation into electric power. However the solar radiation never remains constant. The need of the hour is to deliver a constant voltage to the load irrespective of the variation in temperatures and solar insolation. This paper designed such an isolated system that delivers constant and stepped up dc voltage to the load. In this paper the open loop characteristics of the PV array with variation in temperature and irradiation levels. The coupling of the PV array with the boost converter in such a way that with variation in load, the varying input current and voltage to the converter follows the open circuit characteristic of the PV array closely. At various insolation levels, the load is varied and the corresponding variation in the input voltage and current to the boost converter is noted.

Key Word - Photo-Voltaic, solar, boost converter, MPPT.