RER Based Hybrid Technology for power Generation System: Pollution Free from GHG

1Santosh Kumar Suman, 2Aishvarya Narain, 3Swati Maurya

123Department of Electrical Engineering

12Madan Mohan Malaviya University of Technology,Gorakhpur

Rajkiya Engineering College, Kannauj, UP, India.

1sksumanee@gmail.com, 2Aishvarya.n89@gmail.com, 3swatimaurya1990@gmail.com

Abstract—this paper is presented to study the conversion of renewable energy resources (RER) into electrical energy in a standalone hybrid power generation system. Recent power generation scenarios all over the world are not eco-friendly as the generation systems are mostly dependent on fossil fuels that produce greenhouse gas (GHG) which contributes to global warming. In this, the combination of two energy resources is taking place i.e. wind and solar energy. Solar panels are used for converting solar energy and wind turbines are used for converting wind energy into electricity. This electrical power generation can operate for various purposes. Generation of electricity will take place at a reasonable cost. This paper presents the Renewable Energy Based Hybrid Technology for Power generation that extracts the renewable energies in Sun and Wind to generate electricity. System control relies mainly on the microcontroller. It ensures the optimum utilization of resources and hence improves the efficiency as related to their individual mode of the generation system. Also, it increases the reliability and reduces the dependence on one single source. This hybrid solar-wind power generating system is suitable for industries and also for domestic areas with reasonable cost without damaging the natural balance like Pollution Free from GHG.

Keywords- greenhouse gas (GHG), renewable energy resources (RER), Hybrid Technology