Power enhancement of PV arrays at progressively shading conditions

Neha Mishra1,         	Anurag Singh Yadav2, 			Imran Khan1

1Electrical Engineering Department, Azad Institute of Technology and Management, Lucknow,

Uttar Pradesh (India) – 226002

2Electrical & Electronics Engineering Department, School of Management Sciences, Lucknow,

Uttar Pradesh (India) – 226501

neha.mishra.nm04@gmail.com, 	er.anuragsingh046@gmail.com, 	pe.imran@gmail.com

Abstract— In this paper, a detailed study is carried out on the solar photovoltaic (PV) array topologies under various shading patterns. The aim of this study is to investigate the mismatch effect losses in PV modules for non-uniform irradiations. The shading causes not only power losses, but also non-linearity of P-V characteristics. Under partial shaded conditions, the P-V and I-V characteristics exhibit extreme non-linearity along with multiple load maxima. In this paper, the investigations of the optimal layout of PV modules in a PV array are worked out to provide maximum output power under various shaded conditions. Several type of solar PV array topologies e.g. Series-parallel (SP), total cross tied (TCT), bridge-link (BL), honey-comb (HC) and proposed hybrid SP-TCT, BL-TCT and BL-HC are considered for progressively movements of shadowing conditions. The modeling of solar PV array for various types of topologies is done in MATLAB/Simulink environment. The performances of TCT and proposed hybrid configurations are establish superior for some cases of shading patterns.

Keywords—photovoltaic arrays, partial shading condition, GMPP, P-V and I-V curves