SIGNIFICANCE OF SOLAR-BIOMASS HYBRID SYSTEM FOR

BUNDELKHAND REGION

Gaurav Srivastava1, Dr. Sudeep Yadav2, Ravi Pratap Singh3

1Research Scholar, BIET Jhansi, 2Assistant Professor, BIET Jhansi,3Research Scholar, BIET Jhansi

1gsri372@gmail.com ,2sudeep2406@gmail.com ,3raviyadav7478@gmail.com

ABSTRACT

This paper highlights the significance of combined solar-biomass hybrid system for the rural areas of Bundelkhand region. Energy is universally recognized as one of the most important input for economic growth and human development. Application of renewable resources is necessary for sustainable development in this region as non-renewable energy resources are limited in amount and causes environmental problems. In rural areas of Bundelkhand region, biomass is abundantly available from various resources but because of the problems with available technology and the awareness, people are struggling to obtain a consistent source of energy. The solar energy is an irregular nature of source. Hybridization of solar energy with biomass energy will overcome their individual demerits and results in sustainable source of supply.

The solar-biomass hybrid system can be a cost effective solution and also improve the quality of life in this region. This region have good potential of solar and biomass resources due to local weather and geographical conditions. The biomass generation from agro residue is 6176.9 kT/Yr and from forest & wasteland residue is 2780.5 kT/Yr in Bundelkhand region. The power potential from both agro residue and forest & wasteland residue is approximately 420 MW.

This study finds that solar-biomass hybrid system is one of the finest option to supply clean energy facilities in rural areas of Bundelkhand region at the judicious cost and with maximum environmental benefits.

Keywords: Biomass Energy, Solar Energy, Solar-Biomass Hybrid System (SBHS), Bundelkhand Region