Noble Control of DC Microgrid having Multiple Renewable for Fast Charging of Electric Vehicles

Sarvesh Anand1* & Amarjeet Singh2

Department of Electrical Engineering

School of Management Sciences Lucknow

*Email: sarveshanand@smslucknow.ac.in

Abstract—Electric vehicles (EVs) are now considered to be a state-of-the-art technology of transportation. However, the electrical grid infrastructure of electrical power system not enough developed to meet the requirement of increasing charging demand for electric vehicles. It is, therefore, impossible to rely entirely on grid-generated electrical power. This paper is emphasizing a noble control method for extremely rapid charging of EV batteries driven by a hybrid DC microgrid, consisting of isolated, Photovoltaic (PV), Wind Turbine, Fuel Cell and Energy Storage Systems (ESS). An adaptive sliding mode controller has been designed here to provide the required power for charging and discharging EVs and also energy storage units (ESUs) under different sources of power generation. The proposed adaptive sliding mode controller operates in a decentralized manner to maintain power distribution amongst the microgrid DC-link EVs and ESUs. For validating the effectiveness of the sliding mode controller in battery charging applications, comparison between fuzzy logic and adaptive sliding mode control is carried out. The proposed controller operates exceptionally satisfactory during rapid changes in EV charging load, fluctuations in solar irradiation, unexpected wind conditions and many more. Finally, the proposed controller is verified by MATLAB simulation and experimental RESULT.

Key Words: DC microgrid, Electric Vehicle (EV), Electric Storage System (ESS), Wind Turbine, Fuel Cell, Sliding Mode Controller.